## masterTable
[7 empty] | very major technical error |  |  |  |  | major technical error
| CBP/mm |  | ZMU |  |  |  | EUCAST CBPs | I for ZMU |  | CBP_S increased by 2mm |  | EUCAST CBPs | I for ZMU |  | CBP_S increased by 2mm
antibiotic | R | S | min/mm | max/mm | width/mm | weight/% | rate | rate | log(ratio) | rate | log(ratio) | rate | rate | log(ratio) | rate | log(ratio) | action | rational for action
ampicillin | 14 | 14 | 11 | 16 | 5 | 3.4815 | 0.0020825 | 8.7829e-07 | -3.375 | 0.00017485 | -1.0759 | 0.003997 | 7.1798e-07 | -3.7456 | 0.00059974 | -0.82377 | introduce ZMU | ZMU leads to desirable ME and vME rates lower than that for increased S_CBP, only 3% of isolates are situated in ZMU
cefoxitin | 19 | 19 | 15 | 21 | 6 | 6.0721 | 0.0043279 | 1.0373e-08 | -5.6204 | 0.00039566 | -1.039 | 0.0074919 | 6.6726e-08 | -5.0503 | 0.0014441 | -0.71499 | increase S_CBP | Cefoxitin is the AmpC screening drug, maximal sensitivity, i.e. low vME rates are most desirable, ME rates reflecting specificity are less important as results of the AmpC screening must be confirmed anyway, ZMU would be technically optimal to lower error rates, but it is unclear what value a ZMU would have for a screening drug
amoxicillin-clavulanic acid | 19 | 19 | 15 | 22 | 7 | 40.5386 | 0.024539 | 1.0704e-08 | -6.3603 | 0.0027797 | -0.94586 | 0.043511 | 6.0017e-08 | -5.8603 | 0.007436 | -0.76726 | do not test | CBP increase does not lead to desirable error rates, ZMU results in acceptable error rates, but 41% of isolates would be situated in ZMU
piperacillin-tazobactam | 17 | 20 | 16 | 20 | 4 | 4.9764 | 3.3853e-05 | 2.0731e-06 | -1.213 | 1.3647e-07 | -2.3946 | 0.00011769 | 9.1194e-06 | -1.1108 | 1.3933e-06 | -1.9267 | no action needed
cefuroxime | 18 | 18 | 14 | 20 | 6 | 4.0344 | 0.0028646 | 6.1426e-09 | -5.6687 | 0.00026353 | -1.0362 | 0.0053418 | 5.1037e-08 | -5.0198 | 0.0011436 | -0.66942 | introduce ZMU | ZMU leads to desirable ME and vME rates lower than that for increased S_CBP, only 4% of isolates are situated in ZMU
cefotaxime | 17 | 20 | 17 | 21 | 4 | 1.1571 | 6.1173e-05 | 8.3992e-06 | -0.86232 | 7.8808e-07 | -1.89 | 1.6373e-05 | 1.6267e-06 | -1.0028 | 1.965e-07 | -1.9208 | no action needed
ceftazidime | 19 | 22 | 18 | 22 | 4 | 2.4575 | 3.4319e-05 | 4.8797e-06 | -0.84714 | 2.5209e-07 | -2.134 | 0.00010069 | 1.0154e-05 | -0.99634 | 3.4499e-06 | -1.4652 | no action needed
ceftriaxone | 20 | 23 | 19 | 23 | 4 | 0.58366 | 1.8465e-05 | 8.625e-06 | -0.33059 | 6.2412e-07 | -1.4711 | 2.8384e-05 | 5.1673e-06 | -0.73981 | 9.3901e-06 | -0.4804 | no action needed
cefepime | 21 | 24 | 20 | 24 | 4 | 2.2015 | 7.7828e-05 | 1.3692e-05 | -0.75467 | 9.8619e-07 | -1.8972 | 8.0608e-05 | 1.0234e-05 | -0.89634 | 4.4278e-06 | -1.2602 | no action needed
ertapenem | 22 | 25 | 22 | 25 | 3 | 0.6451 | 3.6131e-06 | 3.6131e-06 | 0 | 6.4037e-09 | -2.7514 | 2.2016e-05 | 2.2016e-05 | 0 | 1.3395e-07 | -2.2158 | no action needed
imipenem | 16 | 22 | 16 | 22 | 6 | 0.020479 | 1.7093e-14 | 1.7093e-14 | 0 | 2.7426e-18 | -3.7947 | 2.4624e-10 | 2.4624e-10 | 0 | 3.7252e-13 | -2.8202 | no action needed
meropenem | 16 | 22 | 15 | 22 | 7 | 0.051198 | 7.2093e-14 | 4.2035e-16 | -2.2343 | 9.359e-17 | -2.8867 | 2.21e-09 | 8.862e-11 | -1.3969 | 1.8017e-11 | -2.0887 | no action needed
gentamicin | 14 | 17 | 14 | 17 | 3 | 0.56802 | 1.0932e-05 | 1.0932e-05 | 0 | 1.8547e-08 | -2.7704 | 1.2781e-05 | 1.2781e-05 | 0 | 2.0876e-08 | -2.7869 | no action needed
tobramycin | 14 | 17 | 14 | 17 | 3 | 2.0449 | 8.9714e-05 | 8.9714e-05 | 0 | 6.6707e-07 | -2.1287 | 9.8433e-06 | 9.8433e-06 | 0 | 1.7286e-06 | -0.75546 | no action needed
norfloxacin | 19 | 22 | 17 | 22 | 5 | 1.1679 | 1.4453e-05 | 3.1148e-06 | -0.66652 | 6.5869e-07 | -1.3413 | 0.0002013 | 9.4196e-06 | -1.3298 | 3.0532e-05 | -0.81909 | no action needed
ciprofloxacin | 19 | 22 | 18 | 23 | 5 | 1.4445 | 4.9317e-05 | 5.8898e-06 | -0.9229 | 2.7557e-06 | -1.2528 | 0.00010972 | 1.2089e-05 | -0.95791 | 2.1646e-05 | -0.70492 | no action needed
levofloxacin | 19 | 22 | 18 | 22 | 4 | 1.1474 | 1.5216e-05 | 3.8954e-06 | -0.59175 | 2.9469e-07 | -1.7129 | 0.00012051 | 1.9573e-05 | -0.78937 | 5.3465e-06 | -1.353 | no action needed
tigecycline | 15 | 18 | 13 | 18 | 5 | 1.1938 | 2.6467e-08 | 1.8311e-13 | -5.16 | 5.2483e-11 | -2.7027 | 2.7727e-05 | 3.9301e-08 | -2.8485 | 2.6332e-07 | -2.0224 | no action needed
exceeding acceptable value (i.e. >5% for weight of ZMU, >1E-02 for technical error rates)
exceeding desirable value (i.e. >1E-03 for technical error rates)
MH: check whether this still applies with the new definition for "forecast probability" (NB, 05.10.2016)
Triggers for action on CBPs/ZMUs:
1. ME and vME rates of 1.0E-02 (<1%) should be mandatory and ME and vME rates of 1.0E-03 (<0.1%) are desirable, to avoid unnecessary changes in guidelines ME and vME rates of ≤1.0E-04 (<0.01%) may be neglected.
2. increasing S CBP and/or ZMU are recommended if any of these actions decrease ME and/or vME probability at least 1 log
3. decreasing vME outweighs increasing ME if the expected overall ME rate does not exceed 1%
4. ZMUs are recommended if not more than 10% of isolates are situated in the proposed ZMU range
5. If more than 10% of isolates are situated in the proposed ZMU range AND vME probability of official CBPs is >1% AND increasing the S CBP does not result in decreasing the vME rate to <1%, testing of the drug should be discouraged as no results can be obtained on acceptable probability level.