## Slide 2: Outline
Motivation
Data
Model
Results

## Slide 3: 1. Motivation
Complement AST categorizations with a measure of uncertainty
Maybe: suggest a zone of technical uncertainty (ZTU) to reduce the number of (very) major misclassification errors

## Slide 4: 3. Model
X = true diameter, unknown
Y = observed diameter, known
Y = X + E, where E = technical error

## Slide 5: 3. Model: X
The distribution of the true diameter X is a mixture of normally distributed components
Strains with a diameter of x = 6 mm are treated differently

## Slide 6: 3. Model: E
For strains with x = 6 mm: E = 0
Otherwise:
  E is normally distributed
  mean(E) = 0
  var(E) = constant, i.e. independent of X

## Slide 7: 3. Model fitting
Take histogram of observed diameters from database
Fit mixture of normal distributions => Y
Substract technical error => X
Compute forecast probabilities: p_S(y)=(X>= z_S|Y=y)
Define ZTU: p_S(y) in [0.025, 0.975]
Compute probabilities for misclassification errors

## Slide 8: 4. Results
Discuss 2 examples where modelling works
  TOB
  CAZ
Mention cases example where modelling doesn’t work
ZTU
AMC, TPZ

## Slide 9: 4. Results: TOB